AGST INSTALLATION

PERMIT APPLICATION

|  |  |  |  |
| --- | --- | --- | --- |
| APPLICATION DATE:  |  | ESTIMATED DATE OF COMPLETION: |  |
| DESCRIPTION OF WORK:  |  |
|  |

SITE ADDRESS:

SITE NAME:

OWNER PHONE:

CONTRACTOR:

ADDRESS:

CONTRACTOR PHONE: FAX:

FEE SCHEDULE PER CITY ORDINANCE:

 Fire Permit Fee ------------------------------------------------------- $**66.50**

The undersigned hereby agrees to do all the work in accordance with the Ordinances of the City, MN State Building Code, MN State Fire Code, to all recognized standards, and the conditions listed on the back of this application.

Sign

Print/Type Name

**AGST INSTALLATION ADDITIONAL REQUIREMENTS**

1. Containers shall be provided with substantial concrete or masonry foundations or structural steel supports on fire concrete or masonry foundations.
2. Pressure relief devices shall BE provided in accordance with MSFC, and designed in accordance with CGA S.
3. Pressure relief devices shall be readily accessible for inspection and repair.
4. Containers and systems shall be marked in accordance with NFPA 704, DOTn49 CFR Part 1
5. Container inlet and outlet connections, liquid-level limit controls, valves and pressure gauges shall be identified in an approved manner.
6. Piping systems shall be identified in accordance with ANSI A13.1
7. Emergency shutoff valves shall be identified and the location shall be clearly visible and indicated by means of a sign.
8. Containers and systems shall be secured against unauthorized entry and safeguarded in an approved manner.
9. Containers and systems shall be separated from materials and conditions which pose exposure hazards to or from each other.
10. **Required testing and inspections shall occur prior to the system operation. Contact the fire department at 651-552-4172 at least 24 hours in advance to schedule an appointment.**